## Slide 1
Real time termperature monitoring with automatic control on LabVIEW
Design of control system immune to spur signals
MOTIVATION

## Slide 2
We are measuring temperature of environment using first order sensors “3 LM-35s and 3 thermistors” in LABVIEW. It gives temperature of environment in real time. Furthermore, we also developed four threshold of temperature i.e. normal, alarm, threat and shutdown using fuzzy logic, which will help to automate systems (control based on temperature).
APPROACH

## Slide 3
Redundancy:
  Inclusion of extra components which are not strictly necessary but prevent the failure of entire system if one component goes wrong.
Diversity:
  Use of different technologies to avoid the possibility of error in case of some issues with one technology.
REDUNDANCY & DIVERSITY

## Slide 4
REDUNDANCY & DIVERSITY

## Slide 5
FUZZY LOGIC
The idea of fuzzy logic was first advanced by Dr. Lotfi Zadeh of the University of California at Berkeley in the 1960s
In classic term, Fuzzy logic can define as opposite concept of the Boolean logic
Fuzzy Control System

## Slide 6: SYSTEM ARCHITECTURE DIAGRAM
INDICATION
LabVIEW IDE
DAQ Card
Readings from different sensors

## Slide 7: SYSTEM ARCHITECTURE DIAGRAM
Cont….

## Slide 8
Based on semiconductor technology
Rated range −55˚ to +150˚C
0.5°C accuracy
Operates from 4 to 30 volts
Most linear operation
High current output
Low self heating
LM-35 TEMPERATURE SENSOR

## Slide 9
Negative temperature coefficient (NTC)
Non linear behavior
Rated range −30˚ to +125˚C
Fast response to temperature change
Self heating
Require a power source
TTC-502 THERMISTOR

## Slide 10
Where,
TR is the reference temperature.
RR reference resistor at TR
Vi is the input voltage
R1 is the resistor in series
THERMISTOR EQUATION

## Slide 11
LabVIEW (SAMPLE)
Block Diagram
Front Panel

## Slide 12
By implementing this logic we were able to obtain more accurate results compared to the standard technique
Real time monitoring of temperature with indication
Able to detect temperature overshoots above a threshold level
Same architecture can be employed on industrial scale using RTD’s and thermocouples
CONCLUSION